{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":26,"n_cols":13,"rows_kept":26,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250320162908931cc92","交流接触器","LC1 D0601 220V 50HZ","","只","2.00","","","","","","型号符合"]
["2","TM2025032016290893247e4","漏电断路器","DZ158LE-100 100A 3P+N","","个","5.00","","","","","","包含但不限于德力西（食堂）"]
["3","TM202503201629089332052","接近开关","XS2 18BL PAL2 12-24vdc","","个","10.00","","","","","","型号符合，两线型，常开"]
["4","TM20250320162908934be33","差压开关","BH-072009-072 调节范围21-207KPA","","个","1.00","","","","","","定冷水泵出口差压低更换"]
["5","TM202503201629089342c3c","不锈钢控制箱","500mm*400mm*200mm，面板上排4孔，下排3孔，直径25mm，箱体底部3孔，直径30mm，箱体内电控板地拱眼距330mm*350mm","","个","1.00","","","","","","不锈钢材质，500mm*400mm*200mm，面板上排4孔，下排3孔，直径25mm，箱体底部3孔，直径30mm，箱体内电控板地拱眼距330mm*350mm"]
["6","TM2025032016290893535a4","柴油发电机","ZS1110 双电压开架款 10KW、220V/380V（电压可切换）","","台","1.00","","","","","","单缸柴油机，柴油机品牌：包含但不限于常柴、玉柴、潍柴。提供合格证、质保证明及使用维修手册。"]
["7","TM202503201629089359a95","门禁专用电源","12V 5A","","只","1.00","","","","","","信息；门禁系统维护；12V 5A门禁电源，品牌包含但不限于：海康威视、大华、熵基科技之一。"]
["8","TM20250320162908936d24c","变频器","6SE6440-2UD37-5FB1","","台","1.00","","","","","","型号符合，含指导安装，调试"]
["9","TM20250320162908937f2fb","变频器","6SE6440-2AD33-0EA1","","台","1.00","","","","","","型号符合，含指导安装，调试"]
["10","TM202503201629089375011","耐震压力表","EN837-1 -0.1～0MPa","","块","2.00","","","","","","#1大机真空试验模块压力表更换"]
["11","TM202503201629089387e4a","压力变送器","EJA530A 0-1MPa两线制DC24V重庆横河川仪 支持BT200和Hart375协议","","台","4.00","","","","","","压力数显屏，配套针型阀，M20*1.5，0-1MPa，两线制，DC24V，支持BT200和Hart475协议"]
["12","TM202503201629089386eb2","可控硅触发器","NFP KC-5","","只","3.00","","","","","","灰库加热器"]
["13","TM2025032016290893967bd","雷达料位计","VEGAFLEX81 FX81.ADBTBFHXDDAX 24VDC 两线 长度1米","","套","2.00","","","","","","#1机小机润滑油箱液位更换"]
["14","TM20250320162908939a6e2","不锈钢仪表管","材质304不锈刚 φ8*2","","m","500.00","","","","","","用于阀门气管化学三期"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]