{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":25,"n_cols":13,"rows_kept":25,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250815152456547f8c2","漏电断路器","Nader NDB1CL-32 C20 单P,230V～ 漏电动作电流 30mA ～0.1S,上海良信","","个","20.00","","","","","","大小修计划"]
["2","TM202508151524565496072","开关电源","DR-120-24","","只","1.00","","","","","","大小修计划"]
["3","TM202508151524565500a03","漏电保护器","JXL2-63 40A","","个","10.00","","","","","","消耗性生产物资计划-380V"]
["4","TM2025081515245655118d8","断路器","iC65N C63/3P,400V～ 63A 漏电动作电流30mA","","个","20.00","","","","","","大小修计划"]
["5","TM202508151524565515475","断路器","iC65H D20/4P,400V～ 20A 漏电动作电流30mA","","个","20.00","","","","","","大小修计划"]
["6","TM2025081515245655281a8","断路器","iC65H D25/2P,400V～ 25A 漏电动作电流30mA","","个","20.00","","","","","","大小修计划"]
["7","TM202508151524565535713","断路器","iC65H D25/4P,400V～ 25A 漏电动作电流30mA","","个","20.00","","","","","","大小修计划"]
["8","TM202508151524565544827","漏电保护断路器","Nader NDM3L-125/4P ,In=20A,Ue～380/400/415V ,Icu 70kA, Ics 50kA ,Ui 1000V,Uimp 8kV,50/60HZ上海良信","","个","20.00","","","","","","大小修计划"]
["9","TM202508151524565558fd2","漏电保护断路器","Nader NDM3L-125/4P ,In=63A,Ue～380/400/415V, Icu 70kA, Ics 50kA, Ui 1000V,Uimp 8kV ,50/60HZ上海良信","","个","20.00","","","","","","大小修计划"]
["10","TM20250815152456555a248","漏电保护断路器","Nader NDM3L-125/4P ,In=100A,Ue～380/400/415V, Icu 70kA, Ics 50kA, Ui 1000V,Uimp 8kV ,50/60HZ 上海良信","","个","10.00","","","","","","大小修计划"]
["11","TM20250815152456556627c","电瓶车充电保护器","国际电工86型明装10A/16A250V","","个","20.00","","","","","","非生产物资计划（绿化、日常劳保、杂品、办公等）"]
["12","TM20250815152456557d455","接近开关","Bi5-M18-AZ3X TURCK","","个","5.00","","","","","","大小修计划"]
["13","TM20250815152456557c968","接近开关","NI4-M12-AD4X 10...65VDC 3...100MA","","个","5.00","","","","","","大小修计划"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]