{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":30,"n_cols":13,"rows_kept":30,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM2025050916371203358d3","聚氯乙烯护套软线","RVV 3*2.5mm2","","m","300.00","","","","","","国标纯铜 软芯RVV 3X2.5 黑色"]
["2","TM2025050916371203588a1","交流接触器","LC1D150 380V","","只","2.00","","","","","","LC1D150 线圈AC380V，抗燃油泵开关内部接触器"]
["3","TM2025050916371203673d5","高压绝缘热缩套管","10KV 30mm","-电厂用","m","25.00","","","","","","10KV-φ30mm，25米每卷"]
["4","TM20250509163712038d3b3","耐震双金属温度计","WSSN-411Z 0-150℃ M27*2 揷深100mm 直径10mm","","只","8.00","","","","","","WSSN-411Z 带三色标识 M27*2 L=100mm 0-150℃ 上自仪、安徽天康、重庆川仪包含不限于之一"]
["5","TM2025050916371203901d2","耐震压力表","YN-60 量程：0-2.5MPa；结构形式：径向；精度2.5级； 螺纹连接1/4NPT，表盘直径：60mm, 壳体材质：304","","只","2.00","","","","","","YN-100BZ 0-25MPa（带上下限三色标识）上自仪、安徽天康、重庆川仪三品牌之一"]
["6","TM20250509163712040b730","氩气减压器","YQAr-731L 0.6L/min","","只","2.00","","","","","","机务：检修使用"]
["7","TM202505091637120417f8e","二氧化碳电加热减压器","YQT-341 220V 150W","","套","2.00","","","","","","机务：检修使用"]
["8","TM20250509163712042df66","差压变送器","EJA120A-DES5A-62DC","","只","2.00","","","","","","EJA120A -DES5A-62DC- 0-1KPa S1 包含不限于重庆横河，热控：磨煤机粉管风速使用"]
["9","TM202505091637120427392","智能控制(变送）仪","XMT604B 输入信号4~20mA 显示范围0~500℃ （能够与CT-SR型红外测温传感器匹配）外型尺寸：96*48*112（横）","","个","2.00","","","","","","热控：#1机发电机封母温度显示仪表"]
["10","TM20250509163712043777c","膜盒压力表","-6-0kpa Y100 带上下限三色标识 合格证","","块","4.00","","","","","","带上下限三色标识 包含不限于 上自仪、安徽天康、重庆川仪三品牌之一"]
["11","TM20250509163712044c618","PU管","10*6.5mm","","m","200.00","","","","","","热控材料：输灰气源管更换"]
["12","TM20250509163712045aba8","脚踏液压油桶搬运车","COY-300、承重300KG，升起高度35cm","","台","1.00","","","","","","机务：检修使用"]
["13","TM2025050916371204714d2","滤纸","300mm*300mm孔径40mm孔位220mm","","片","1000.00","","","","","","机务：主油箱，液偶、磨煤机油站滤油使用，300*300mm"]
["14","TM20250509163712048e0e6","尼龙双扣扁平起重吊带","1T*1m","","根","6.00","","","","","","1T 1米（蓝色）"]
["15","TM20250509163712049acbc","尼龙双扣扁平起重吊带","1T*2m","","根","6.00","","","","","","1T 2米（蓝色）"]
["16","TM20250509163712050ab50","尼龙双扣扁平起重吊带","2T*1m","","根","6.00","","","","","","2T 1米（蓝色）"]
["17","TM2025050916371205167a2","尼龙双扣扁平起重吊带","2T*2m","","根","6.00","","","","","","2T 2米（蓝色）"]
["18","TM20250509163712052c410","气动PU管","12*8mm","","m","200.00","","","","","","热控材料：输灰切换阀气源管更换"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]