{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":22,"n_cols":13,"rows_kept":22,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202506061635331444080","矿用杂散电流测定仪","FZY3","","台","1.00","","","","","","郭家河-附图"]
["2","TM202506061635331469011","浮球开关","FQK-220-2/F","","件","2.00","","","","","","百贯沟"]
["3","TM202506061635331472a4a","高低压钳形电流表","ES1010量程：0.0mA-1200A(50/60Hz自动） 分辨率：0.1mA 钳口尺寸：φ50mm 绝缘杆：五节绝缘杆（5米）","","件","1.00","","","","","","新安"]
["4","TM20250606163533148b3bd","电力通信电缆故障仪","LCT261","","件","2.00","","","","","","天山-8km量程"]
["5","TM20250606163533148c775","精密数字压力表","YT-M211 量程：-5kpa 到+10kpa","","个","2.00","","","","","","天山-包含但不限于江苏以太仪表科技"]
["6","TM20250606163533149062b","红外人体感应开关","WB一KGRT5X一A0","","个","20.00","","","","","","天山"]
["7","TM2025060616353315030fc","接线端子","RJ1-3N 额定电压：800V；额定电流：30A；2.5mm2","","片","300.00","","","","","","天山"]
["8","TM20250606163533151813c","低压（五芯）冷缩电缆终端","Ls-1/4.2(5.2)","1KV/0.4KV","套","30.00","","","","","","天山"]
["9","TM20250606163533152d98b","复合外套金属氧化物避雷器","HY5WZ-10/27","区变高压柜","台","12.00","","","","","","天山"]
["10","TM20250606163533152dc4f","切换开关","3向切换开关，SGBLAY(B)(LAY37Y-090) GB14048.5，ith:10A，Ui:660V","","个","4.00","","","","","","百贯沟-附图"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]