{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":18,"n_cols":13,"rows_kept":18,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","1555010480","WiFi智能温湿度计","通讯方式：wifi（不需要网关可WiFi直连）可通过手机app实时控制，测量精度：±0.5，供电方式：插线","","台","2.00","","","","","","以下产品符合规格型号参数，严格执行化工标准等国家、行业强制认证规定，直发长青能源化工有限公司，货到需包含卸车，物流快递需送货上门，交货期为订单下达后20天内送达；备注申请付款方式，不备注默认按集团月度排款."]
["2","8270010002","双金属温度计","WSS-381W；轴向；表盘直径：60mm；量程0-200；Φ6 插深100mm；精度等级：1.5级；卡套螺纹连接M16*1.5；不锈钢；万向型","","个","1.00","","","","","","建议品牌：安徽天康、上海自仪、乐青伦特"]
["3","8270700535","耐磨铠装热电阻","H-WZPK-740-M-AFA-650/500-M20*1.5，分度号：PT100,单支，介质：黑水，工作温度：250℃，工作压力;6.5Mpa，刻度范围：0-400℃，防护等级：IP65,防爆等级：ExdII CT4,外套管种类：锥形钻孔管，外套管材质：316L+WC ，插深500mm，直径φ25/φ32，过程连接：DN50,900LB RF HG/T 20615-2009,法兰材质;316L","","套","1.00","","","","","",""]
["4","8270900000","标准铂电阻温度计","型号：WZPB-2，精度：二等标准铂电阻","","支","1.00","","","","","","参考厂家：昆明大方自动控制科技有限公司，等效优于即可"]
["5","8270900150","电接点双金属温度计","WSSX，0-200℃，表盘直径：100mm，螺纹：M27×2，固定螺纹，插入深度：150mm，探杆直径：φ10，工作电压：220V，触头功率：10VA","动力给煤机电接点双金属温度计","个","2.00","","","","","",""]
["6","8279050015","氧检测器","量程：0-25%；三线制；输出4-20mA；电压24VDC；精度：＜±5%F.S；工作温度：-40℃-70℃；防护等级IP66；防爆等级ExdIICT6 ⅢC T80℃，带声光报警；带遥控器，带HART协议；带防爆铠装密封接头；电气接口G3/4.","","台","6.00","","","","","","建议品牌：深圳特安、梅思安、霍尼韦尔、成都安可信"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]