{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":27,"n_cols":13,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏新美建筑工程有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250425133909819c4b5","提升泵检修孔花纹钢盖板","图集《地沟与盖板》02J331，GB10-1，板4厚，井壁厚200，盖板尺寸（0.85m*1.2m），","","个","2.00","","","","","","控制价在公告内（含税）。开票税率为13%。盖板尺寸为1.7*1.2m，一分二。雨水收集池用。详见附件。具体详情报名前请联系项目部13585386920。"]
["2","TM202504251339098210ea8","检修孔不锈钢盖板","图集22s804,p186页，4厚，\n孔径D0 1000mm，井壁厚100，盖板直径1300mm，","","个","2.00","","","","","","控制价在公告内（含税）。开票税率为13%。雨水收集池用。详见附件。具体详情报名前请联系项目部13585386920。"]
["3","TM202504251339098228dd3","玻璃钢盖板","图集22s804,p193页，玻璃钢盖板：承载能力大于或等于2.5kPa，挠度小于或等于/300（L为跨度）。尺寸（3400*3600），井壁400mm","","个","1.00","","","","","","控制价在公告内（含税）。开票税率为13%。雨水收集池用。详见附件。具体详情报名前请联系项目部13585386920。"]
["4","TM20250425133909823f954","阀门井花纹钢盖板","图集《地沟与盖板》02J331，GB15-1，板6厚，井壁厚250m，尺寸（650*2000mm）","","个","4.00","","","","","","控制价在公告内（含税）。开票税率为13%。盖板尺寸为2.6*2m,一分四。雨水收集池用。详见附件。具体详情报名前请联系项目部13585386920。"]
["5","TM20250425133909824ceb9","保温检修孔不锈钢圆盖板","图集05s804,P174,孔径D0 1000mm，池壁厚70，板4厚，盖板直径1300mm","","个","1.00","","","","","","控制价在公告内（含税）。开票税率为13%。风井水泵房用。详见附件。具体详情报名前请联系项目部13585386920。"]
["6","TM2025042513390982405aa","成品不锈钢篦子","304钢，350*500*30","","块","24.00","","","","","","控制价在公告内（含税）。开票税率为13%。风井水泵房用。详见附件。具体详情报名前请联系项目部13585386920。"]
["7","TM20250425133909825e433","电缆沟花纹钢盖板","图集《地沟与盖板》02J331，GB10-1，板4厚，沟内空800，尺寸500*1000mm","","个","9.00","","","","","","控制价在公告内（含税）。开票税率为13%。风井水泵房用。详见附件。具体详情报名前请联系项目部13585386920。"]
["8","TM2025042513390982663ca","集水井花纹钢盖板","图集《地沟与盖板》02J331，GB10-1，\n板4厚,尺寸1000*1000mm","","个","1.00","","","","","","控制价在公告内（含税）。开票税率为13%。风井水泵房用。详见附件。具体详情报名前请联系项目部13585386920。"]
["9","TM2025042513390982770af","不锈钢盖板","图集22s804,p186页，4厚，\n孔径D0 1000mm，井壁厚100，盖板直径1300mm，","","个","2.00","","","","","","控制价在公告内（含税）。开票税率为13%。风井消防水池用。详见附件。具体详情报名前请联系项目部13585386920。"]
["10","TM202504251339098277082","花纹钢盖板","图集《地沟与盖板》02J331，GB10-1，\n板4厚,尺寸1100*900mm","","个","1.00","","","","","","控制价在公告内（含税）。开票税率为13%。二号单身宿舍用。详见附件。具体详情报名前请联系项目部13585386920。"]
["11","TM2025042513390982867ad","花纹钢盖板","图集《地沟与盖板》02J331，GB10-1，\n板4厚,尺寸700*1100mm","","个","2.00","","","","","","控制价在公告内（含税）。开票税率为13%。盖板尺寸1400*1100，一分二。二号单身宿舍用。详见附件。具体详情报名前请联系项目部13585386920。"]
["12","TM20250425133909829f9e1","电缆沟钢盖板","见图集《地沟与盖板》02J331之GB6-1，板4厚，沟壁厚150，盖板尺寸（700mm*495mm）","","块","23.00","","","","","","控制价在公告内（含税）。开票税率为13%。防灭火灌浆站用。详见附件。具体详情报名前请联系项目部13585386920。"]
["13","TM202504251339098306a5c","电缆沟钢盖板","见图集《地沟与盖板》02J331之GB8-2，板4厚，沟壁厚200，盖板尺寸（900mm*495mm）","","块","60.00","","","","","","控制价在公告内（含税）。开票税率为13%。综采设备中转库变电所用。详见附件。具体详情报名前请联系项目部13585386920。"]
["14","TM202504251339098312ef2","排水沟镀锌钢格栅板","600*430*厚15，镀锌钢格栅板","","块","43.00","","","","","","控制价在公告内（含税）。开票税率为13%。准备车间用。详见附件。具体详情报名前请联系项目部13585386920。"]
["15","TM202504251339098320625","排水沟不锈钢篦子","600*370*厚15，304不锈钢篦子","","块","20.00","","","","","","控制价在公告内（含税）。开票税率为13%。无轨胶轮车保养间用。详见附件。具体详情报名前请联系项目部13585386920。"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]