{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":47,"n_cols":13,"rows_kept":47,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["苏能（锡林郭勒）发电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM2025082814341943591c0","建筑通用密封胶","西卡Sikaflex?-11FC(PRO)","","支","20.00","","","","","","土建——建筑场所通用密封（需备注供货周期）"]
["2","TM20250828143419437a030","胶枪","通用结构枪","","个","2.00","","","","","","土建——打胶使用（需备注供货周期）"]
["3","TM20250828143419438e012","发泡胶","西卡 发泡胶（通用性）含","","支","12.00","","","","","","土建——日常维修:用于密封堵漏（需备注供货周期）"]
["4","TM20250828143419439f109","胶枪","通用发泡胶枪","","个","2.00","","","","","","土建——打胶使用（需备注供货周期）"]
["5","TM20250828143419440ad20","窗户密封条","断桥铝三元乙丙中密封条，外槽尺寸19㎜","","米","200.00","","","","","","土建——窗户密封，需见样品（需备注供货周期）"]
["6","TM202508281434194406920","法兰","碳钢 DN 65 、1.0MPa","","片","8.00","","","","","","化学——工业废水泵吸入口更换（需备注供货周期）"]
["7","TM202508281434194419a4d","际工4G远程控制器","际工 4G遥控开关2P（63A）终身免流量","","个","8.00","","","","","","电气——现场应急照明联动（需备注供货周期）"]
["8","TM202508281434194421ba6","轴流风机电机","\"SF2.5-4 0.09KW/380V 1450r/min  电机基座中心孔距长7cm 宽：9cm 轴直径：11mm\"","","台","2.00","","","","","","电气——现场墙壁故障轴流风机电机更换（需备注供货周期）"]
["9","TM202508281434194434585","堵露宝","东方雨虹 底涂型1kg","","袋","10.00","","","","","","电气——电缆沟封堵用（需备注供货周期）"]
["10","TM2025082814341944322f8","轴承","SKF  6024","","个","2.00","","","","","","电气——"]
["11","TM2025082814341944486cc","散热风扇","\"SUNON DP200A 2123HSL  220-240V 50HZ 0.14A\"","","个","10.00","","","","","","电气——就地控制箱散热风扇更换（需备注供货周期）"]
["12","TM202508281434194455125","钻头","德力西 DLX-042 6mm 7mm 8mm 9mm 10mm 11mm 12mm各一个","","个","7.00","","","","","","电气——现场施工调试工具（需备注供货周期）"]
["13","TM202508281434194451270","工具包","法斯特 单肩帆布工具包 中号蓝黑（升级款）","","个","1.00","","","","","","电气专业点检用（需备注供货周期）"]
["14","TM2025082814341944673af","工具包","世达电工包 16 95182","","个","1.00","","","","","","电气专业点检用（需备注供货周期）"]
["15","TM202508281434194471423","小型配电箱","\"建筑物景观照明，及现场部分区域增加供电用，尺寸400*500*160，进线4P  100A漏电保护开关， 出线3P 63A  2个，2P 32A  2个，带漏电保护开关 2P 32A，2个。\"","","个","4.00","","","","","","电气——现场施工调试（需备注供货周期）"]
["16","TM202508281434194482f22","防爆电源接线盒","FDH","","个","30.00","","","","","","化学——化学循环水旁路、设备伴热（需备注供货周期）"]
["17","TM202508281434194489a40","防爆终端接线盒","FZH","","个","30.00","","","","","","化学——化学循环水旁路、设备伴热（需备注供货周期）"]
["18","TM202508281434194498f4d","耐热压敏胶带","20mm宽","","米","1200.00","","","","","","化学——化学循环水旁路、设备伴热（需备注供货周期）"]
["19","TM202508281434194503c16","铝箔胶带","20mm宽","","米","400.00","","","","","","化学——化学循环水旁路、设备伴热（需备注供货周期）"]
["20","TM202508281434194505e40","不绣钢保温控制箱","尺寸:500*400*200；每台配一个断路器、5个空开C32。","","台","2.00","","","","","","化学——化学循环水旁路、设备伴热（需备注供货周期）"]
["21","TM20250828143419451844f","板框压滤机滤布","型号1250型，材质丙纶，模板滤布","","块","39.00","","","","","","化学——板框压滤机更换滤布（需备注供货周期）"]
["22","TM202508281434194523842","板框压滤机滤布","型号1250型，材质丙纶，配板滤布  （38+2单片）","","块","39.00","","","","","","化学——板框压滤机更换滤布（需备注供货周期）"]
["23","TM202508281434194524ec0","防火泥","3C不干不裂  防火泥2kg","","件","10.00","","","","","","电气——智慧照明及应急疏散照明系统施工用（需备注供货周期）"]
["24","TM20250828143419453da72","镀锌钢管接头直通","27螺丝直接（SC20钢管），一包100个","","包","2.00","","","","","","电气——智慧照明及应急疏散照明系统施工用（需备注供货周期）"]
["25","TM20250828143419454b181","手动蝶阀（碳钢）","DN100 1.6MPa配套反法兰、垫片、螺栓","","台","2.00","","","","","","化学——消防管道用（需备注供货周期）"]
["26","TM20250828143419454394b","手动蝶阀（碳钢）","DN150 1.0MPa","","台","2.00","","","","","","化学——化学制水系统更换（需备注供货周期）"]
["27","TM202508281434194552881","手动蝶阀（碳钢）","DN125 1.0MPa配套反法兰、垫片、螺栓","","台","1.00","","","","","","化学——化学回用水泵出口（需备注供货周期）"]
["28","TM20250828143419456bdeb","五孔插座","公牛、斜五孔插座10A（明装）","","个","10.00","","","","","","电气——现场插座更换用（需备注供货周期）"]
["29","TM202508281434194561574","插头","公牛、三相插头10A，白色T10S","","个","10.00","","","","","","电气——现场插头更换用（需备注供货周期）"]
["30","TM20250828143419457becd","空气开关","德力西 1P 16A（不带漏保）","","个","20.00","","","","","","电气——现场施工调试（需备注供货周期）"]
["31","TM20250828143419457874c","空气开关","德力西 2P 32A（不带漏保）","","个","10.00","","","","","","电气——现场施工调试（需备注供货周期）"]
["32","TM2025082814341945825ac","伴热带","DXW-12PZ","","米","800.00","","","","","","汽机-日常维护（需备注供货周期）"]
["33","TM2025082814341945989e2","高温防爆电伴热带","ROP2-J4-40","","米","2000.00","","","","","","化学——化学循环水旁路、设备伴热（需备注供货周期）"]
["34","TM20250828143419460719f","电伴热带","电伴热带，防爆加强性 14mm，三根50米，每根配温控箱1个","","套","3.00","","","","","","电气——GIL地下部分电伴热（需备注供货周期）"]
["35","TM202508281434194604afc","自粘胶铝箔纸","宽20厘米","","米","500.00","","","","","","汽机-日常维护（需备注供货周期）"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]