{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":42,"n_cols":13,"rows_kept":42,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["徐州长城基础工程有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","TM202510220935208628f2b","法兰球阀","DN100法兰球阀PN16","","个","84.00","","","","","","单元阀组"]
["2","TM20251022093520864b9cc","压力表","YN-100B,0-1.6MPa","","个","84.00","","","","","","单元阀组"]
["3","TM20251022093520865b9d7","过滤器","DN100Y型过滤器30目","","个","21.00","","","","","","单元阀组"]
["4","TM202510220935208668948","温度计","温度计0-100度","","个","42.00","","","","","","单元阀组"]
["5","TM20251022093520866fb83","球阀","DN25泄水球阀","","个","42.00","","","","","","单元阀组"]
["6","TM20251022093520867220d","平衡阀","DN100静态水力平衡阀","","个","21.00","","","","","","单元阀组"]
["7","TM202510220935208681111","球阀","DN80法兰球阀","","个","21.00","","","","","","单元阀组"]
["8","TM20251022093520868cb20","球阀","DN80法兰球阀PN16","","个","24.00","","","","","","单元阀组"]
["9","TM20251022093520869cbac","压力表","0-1.6MPa 4～20mA","","个","24.00","","","","","","单元阀组"]
["10","TM20251022093520870f710","过滤器","DN8OY型过滤器30目","","个","6.00","","","","","","单元阀组"]
["11","TM202510220935208717185","温度计","温度计0-100度","","个","12.00","","","","","","单元阀组"]
["12","TM2025102209352087195b9","球阀","DN25泄水球阀","","个","12.00","","","","","","单元阀组"]
["13","TM20251022093520872836f","平衡阀","DN80静态水力平衡阀","","个","6.00","","","","","","单元阀组"]
["14","TM20251022093520873b9aa","球阀","DN65法兰球阀","","个","6.00","","","","","","单元阀组"]
["15","TM202510220935208749416","球阀","DN65法兰球阀PN16","","个","4.00","","","","","","单元阀组"]
["16","TM202510220935208747eef","压力表","压力表0-2 .0MPa","","个","4.00","","","","","","单元阀组"]
["17","TM202510220935208758527","过滤器","DN65Y型过滤器30目","","个","1.00","","","","","","单元阀组"]
["18","TM20251022093520876d60f","温度计","温度计0-100度","","个","2.00","","","","","","单元阀组"]
["19","TM202510220935208763326","球阀","DN25泄水球阀","","个","2.00","","","","","","单元阀组"]
["20","TM20251022093520877ba45","平衡阀","DN65静态水力平衡阀","","个","1.00","","","","","","单元阀组"]
["21","TM202510220935208782237","球阀","DN50法兰球阀","","个","1.00","","","","","","单元阀组"]
["22","TM2025102209352087842de","波纹补偿器","规格：DN80补","","个","56.00","","","","","","楼内阀组"]
["23","TM20251022093520879d43d","波纹补偿器","规格：DN65补","","个","28.00","","","","","","楼内阀组"]
["24","TM202510220935208804237","阀门","规格：DN40","","个","56.00","","","","","","楼内阀组"]
["25","TM202510220935208800122","阀门","规格、压力等级：DN150Q347F-16C 接形式：法兰连接","","个","2.00","","","","","","车库架空管"]
["26","TM20251022093520881db84","阀门","规格、压力等级：DN125Q347F-16C 连接形式：法兰连接","","个","20.00","","","","","","车库架空管"]
["27","TM20251022093520881a878","阀门","规格、压力等级：DN100Q347F-16C 连接形式：法兰连接","","个","8.00","","","","","","车库架空管"]
["28","TM202510220935208823dd6","阀门","规格、压力等级：DN65,Q41F-16C 连接形式：法兰连接","","个","2.00","","","","","","车库架空管"]
["29","TM202510220935208826538","阀门","规格、压力等级：DN100,PN16    连接形式：法兰连接","","个","5.00","","","","","","车库架空管"]
["30","TM20251022093520883aae2","阀门","规格、压力等级：DN80,PN16     连接形式：法兰连接","","个","3.00","","","","","","车库架空管"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]