{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":24,"n_cols":13,"rows_kept":24,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","1806350010","暗插座","250V 10A (五孔)","","只","23.00","","","","","","直发阿克苏热电"]
["2","1805401200","电池","6F22，9V","","块","4.00","","","","","","直发阿克苏热电"]
["3","1622400341","热电偶","WRNK2-221 Φ6 L=15000mm 0-1000℃","","只","6.00","","","","","","直发阿克苏热电"]
["4","1622400141","高温耐磨热电偶","WRNN2-436-K L=880*630mm 0-1100℃ 安徽蓝德 产品符合GB/T18404-2022","","支","3.00","","","","","","直发阿克苏热电"]
["5","1618450089","CBB电容","K224 D630","","个","1.00","","","","","","直发阿克苏热电"]
["6","1645010312","千兆交换机","TL-SG1005+ 工业级","","个","2.00","","","","","","直发阿克苏热电"]
["7","1806331036","二十孔插座","4位20孔插排明装","","个","23.00","","","","","","直发阿克苏热电"]
["8","1802651015","移动电源","E1500PRO 功率和电压8：交流输出总功率 2000W，220V 50/60Hz，完全满足输出功率不低于 500W 的要求，并且有多个输出接口，包括 220V 交流输出以及 12V 直流输出等，能适应多种设备用电需求。","","块","1.00","","","","","","直发阿克苏热电"]
["9","1802180680","防爆屋顶风机","DWT-1 功率：2.2KW 380V  风量：24000m3/H 风压：177pa 转速：720r/min","","套","2.00","","","","","","直发阿克苏热电"]
["10","1807290216","无极LED调节灯","GS-B-T5-LED合肥金星智控","","套","2.00","","","","","","直发阿克苏热电"]
["11","1808781920","LED灯带","AC220V 12W 白光 每10cm可裁剪 环境温度60℃ 工业级","","m","20.00","","","","","","直发阿克苏热电"]
["12","1808781922","LED灯带插头","220V 单色通用","","个","4.00","","","","","","直发阿克苏热电"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]