{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":21,"n_cols":13,"rows_kept":21,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","2702400940","单向阀","S10P1.0B","","件","1.00","","","","","","直发华美电厂，绞车JSDB（中煤）"]
["2","2702400930","单向阀","S10A2/2","","件","1.00","","","","","","直发华美电厂，全液压钻机ZDY3200(杭钻）"]
["3","TM20250711133507663908c","防爆电磁阀","4m320-08 220vAC 5.5VA 25mA IP65","/阿克苏热电","块","2.00","","","","","","热控材料：尿素区气动门使用/"]
["4","TM202507111335076740a24","电磁阀","型号：SCXG531D002MS、Orifice/Pipe;6mm,G1/4 承压：2-10Bar 温度：-10-60℃，电压：220V","/阿克苏热电","块","2.00","","","","","","热控：#2机2-2真空泵（用一备一）/"]
["5","TM20250711133507679c0ad","电磁阀","4V310-08 DC12V 2.5W","/阿克苏热电","个","2.00","","","","","","热控：锅炉火焰电视监控使用2个/"]
["6","TM20250711133507683a207","电磁阀","4v210-08 AC220 6.0VA","/阿克苏热电","个","8.00","","","","","","热控：仪用空压机干燥器电磁阀使用/"]
["7","TM202507111428394174fb9","截止阀","/阿克苏电厂","J41H-25 DN80 材质2205","个","2.00","","","","","","机务：尿素区产品气联通门更换（用一备一）/"]
["8","TM20250711142839421d223","电动调节阀","/阿克苏电厂","型号；VFM 2 PN16,DN125 PT24barTMAX:150℃","个","1.00","","","","","","热控材料:住宅楼换热站低区电动调节阀使用/"]
["9","1005110150","截止阀","J41H-25 150mm","","只","1.00","","","","","","J41H-25 DN150，住宅楼一网高低区安装分支阀门控制"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]