{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":117,"n_cols":13,"rows_kept":117,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司张双楼煤矿物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250625092500565b57f","移机","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["2","TM20250625092500567ff47","拆机","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["3","TM20250625092500568d533","装机","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["4","TM202506250925005695572","维修电脑板","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["5","TM20250625092500569de7e","更换电脑板","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["6","TM202506250925005701435","漏水处理","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["7","TM2025062509250057203a4","加长铜管","1.5P挂机","1.5P挂机","米","1.00","","","","","",""]
["8","TM20250625092500573cf32","更换传感器","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["9","TM2025062509250057377e0","更换四通阀","1.5P挂机","1.5P挂机","台","1.00","","","","","","含加氟"]
["10","TM20250625092500574a099","更换交流接触器","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["11","TM202506250925005752583","外机支架","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["12","TM20250625092500576ef22","加氟","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["13","TM20250625092500576dd00","补氟","1.5P挂机","1.5P挂机","兆帕","1.00","","","","","",""]
["14","TM202506250925005773e0e","简单清洗","1.5P挂机","1.5P挂机","台","1.00","","","","","","对内机的蒸发器翅片、过滤网、外壳等部件尘埃污物的清洗；对风叶、外壳等部件尘埃污物的清洗"]
["15","TM20250625092500578b28f","深度清洗","1.5P挂机","1.5P挂机","台","1.00","","","","","","对内机的蒸发器内部部件、外机的冷凝器翅片、风叶、过滤网及外壳部件表面的深度清洗。"]
["16","TM2025062509250057905f6","更换内风机电机","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["17","TM2025062509250057903dd","更换外风机电机","1.5P挂机","1.5P挂机","台","1.00","","","","","",""]
["18","TM202506250925005802712","移机","3P柜机","3P柜机","台","1.00","","","","","",""]
["19","TM202506250925005810462","拆机","3P柜机","3P柜机","台","1.00","","","","","",""]
["20","TM20250625092500582975d","装机","3P柜机","3P柜机","台","1.00","","","","","",""]
["21","TM202506250925005823720","维修内机电脑板","3P柜机","3P柜机","台","1.00","","","","","",""]
["22","TM202506250925005836d2e","维修外内电脑板","3P柜机","3P柜机","台","1.00","","","","","",""]
["23","TM20250625092500584824d","更换内机电脑板","3P柜机","3P柜机","台","1.00","","","","","",""]
["24","TM202506250925005858690","更换外内电脑板","3P柜机","3P柜机","台","1.00","","","","","",""]
["25","TM2025062509250058618eb","漏水处理","3P柜机","3P柜机","台","1.00","","","","","",""]
["26","TM202506250925005866fd2","加长铜管","3P柜机","3P柜机","米","1.00","","","","","",""]
["27","TM202506250925005877fc3","更换传感器","3P柜机","3P柜机","台","1.00","","","","","",""]
["28","TM20250625092500588c2fa","更换四通阀","3P柜机","3P柜机","台","1.00","","","","","","含加氟"]
["29","TM20250625092500588e87b","更换交流接触器","3P柜机","3P柜机","台","1.00","","","","","",""]
["30","TM202506250925005898e3d","外机支架","3P柜机","3P柜机","台","1.00","","","","","",""]
["31","TM20250625092500590d258","加氟","3P柜机","3P柜机","台","1.00","","","","","",""]
["32","TM202506250925005906177","补氟","3P柜机","3P柜机","兆帕","1.00","","","","","",""]
["33","TM202506250925005910f23","简单清洗","3P柜机","3P柜机","台","1.00","","","","","","对内机的蒸发器翅片、过滤网、外壳等部件尘埃污物的清洗；对风叶、外壳等部件尘埃污物的清洗"]
["34","TM202506250925005928897","深度清洗","3P柜机","3P柜机","台","1.00","","","","","","对内机的蒸发器内部部件、外机的冷凝器翅片、风叶、过滤网及外壳部件表面的深度清洗。"]
["35","TM202506250925005927684","更换内风机电机","3P柜机","3P柜机","台","1.00","","","","","",""]
["36","TM202506250925005930964","更换外风机电机","3P柜机","3P柜机","台","1.00","","","","","",""]
["37","TM20250625092500594050c","移机","5P柜机","5P柜机","台","1.00","","","","","",""]
["38","TM2025062509250059590b8","拆机","5P柜机","5P柜机","台","1.00","","","","","",""]
["39","TM20250625092500595a8ba","装机","5P柜机","5P柜机","台","1.00","","","","","",""]
["40","TM202506250925005962532","维修内机电脑板","5P柜机","5P柜机","台","1.00","","","","","",""]
["41","TM20250625092500596a8e8","维修外内电脑板","5P柜机","5P柜机","台","1.00","","","","","",""]
["42","TM202506250925005978b04","更换内机电脑板","5P柜机","5P柜机","台","1.00","","","","","",""]
["43","TM20250625092500598e0f3","更换外内电脑板","5P柜机","5P柜机","台","1.00","","","","","",""]
["44","TM2025062509250059867f0","漏水处理","5P柜机","5P柜机","台","1.00","","","","","",""]
["45","TM202506250925005998370","加长铜管","5P柜机","5P柜机","米","1.00","","","","","",""]
["46","TM20250625092500599c56f","更换传感器","5P柜机","5P柜机","台","1.00","","","","","",""]
["47","TM202506250925006009a3c","更换四通阀","5P柜机","5P柜机","台","1.00","","","","","","含加氟"]
["48","TM20250625092500600698c","更换交流接触器","5P柜机","5P柜机","台","1.00","","","","","",""]
["49","TM20250625092500601e02a","外机支架","5P柜机","5P柜机","台","1.00","","","","","",""]
["50","TM202506250925006017f38","加氟","5P柜机","5P柜机","台","1.00","","","","","",""]
["51","TM202506250925006021972","补氟","5P柜机","5P柜机","兆帕","1.00","","","","","",""]
["52","TM202506250925006033002","简单清洗","5P柜机","5P柜机","台","1.00","","","","","","对内机的蒸发器翅片、过滤网、外壳等部件尘埃污物的清洗；对风叶、外壳等部件尘埃污物的清洗"]
["53","TM2025062509250060435f1","深度清洗","5P柜机","5P柜机","台","1.00","","","","","","对内机的蒸发器内部部件、外机的冷凝器翅片、风叶、过滤网及外壳部件表面的深度清洗。"]
["54","TM20250625092500604e050","更换内风机电机","5P柜机","5P柜机","台","1.00","","","","","",""]
["55","TM20250625092500605bbff","更换外风机电机","5P柜机","5P柜机","台","1.00","","","","","",""]
["56","TM20250625092500606c73e","移机","10匹","10匹","台","1.00","","","","","",""]
["57","TM202506250925006069af1","拆机","10匹","10匹","台","1.00","","","","","",""]
["58","TM20250625092500607bb6e","装机","10匹","10匹","台","1.00","","","","","",""]
["59","TM2025062509250060706e4","维修内机电脑板","10匹","10匹","台","1.00","","","","","",""]
["60","TM202506250925006080982","维修外机电脑板","10匹","10匹","台","1.00","","","","","",""]
["61","TM2025062509250060977e4","更换内机电脑板","10匹","10匹","台","1.00","","","","","",""]
["62","TM20250625092500610dbe3","更换外机电脑板","10匹","10匹","台","1.00","","","","","",""]
["63","TM20250625092500610e804","漏水处理","10匹","10匹","台","1.00","","","","","",""]
["64","TM202506250925006117fd9","加长铜管","10匹","10匹","米","1.00","","","","","",""]
["65","TM20250625092500611728e","更换传感器","10匹","10匹","台","1.00","","","","","",""]
["66","TM20250625092500612b7e8","更换四通阀","10匹","10匹","台","1.00","","","","","","含加氟"]
["67","TM20250625092500613531b","更换交流接触器","10匹","10匹","台","1.00","","","","","",""]
["68","TM2025062509250061314e6","外机支架","10匹","10匹","台","1.00","","","","","",""]
["69","TM202506250925006148080","加氟","10匹","10匹","台","1.00","","","","","",""]
["70","TM20250625092500614917d","补氟","10匹","10匹","兆帕","1.00","","","","","",""]
["71","TM20250625092500615d9c0","简单清洗","10匹","10匹","台","1.00","","","","","","对内机的蒸发器翅片、过滤网、外壳等部件尘埃污物的清洗；对风叶、外壳等部件尘埃污物的清洗"]
["72","TM202506250925006169c67","深度清洗","10匹","10匹","台","1.00","","","","","","对内机的蒸发器内部部件、外机的冷凝器翅片、风叶、过滤网及外壳部件表面的深度清洗。"]
["73","TM202506250925006171f76","更换内风机电机","10匹","10匹","台","1.00","","","","","",""]
["74","TM20250625092500617b6cf","更换外风机电机","10匹","10匹","台","1.00","","","","","",""]
["75","TM20250625092500618e0f9","管路清洗","10匹","10匹","台","1.00","","","","","",""]
["76","TM2025062509250061825b5","移机","10匹以上","10匹以上","台","1.00","","","","","",""]
["77","TM202506250925006193392","拆机","10匹以上","10匹以上","台","1.00","","","","","",""]
["78","TM2025062509250061994e7","装机","10匹以上","10匹以上","台","1.00","","","","","",""]
["79","TM20250625092500620a447","维修外机电脑板","10匹以上","10匹以上","台","1.00","","","","","",""]
["80","TM20250625092500621e588","维修内机电脑板","10匹以上","10匹以上","台","1.00","","","","","",""]
["81","TM2025062509250062288b6","更换外机电脑板","10匹以上","10匹以上","台","1.00","","","","","",""]
["82","TM202506250925006229ee8","更换内机电脑板","10匹以上","10匹以上","台","1.00","","","","","",""]
["83","TM20250625092500623882c","漏水处理","10匹以上","10匹以上","台","1.00","","","","","",""]
["84","TM202506250925006249129","加长铜管","10匹以上","10匹以上","米","1.00","","","","","",""]
["85","TM20250625092500624155e","更换传感器","10匹以上","10匹以上","台","1.00","","","","","",""]
["86","TM20250625092500625dca5","更换四通阀","10匹以上","10匹以上","台","1.00","","","","","","含加氟"]
["87","TM202506250925006262581","更换交流接触器","10匹以上","10匹以上","台","1.00","","","","","",""]
["88","TM202506250925006272a94","外机支架","10匹以上","10匹以上","台","1.00","","","","","",""]
["89","TM20250625092500627f270","加氟","10匹以上","10匹以上","台","1.00","","","","","",""]
["90","TM20250625092500628a634","补氟","10匹以上","10匹以上","兆帕","1.00","","","","","",""]
["91","TM2025062509250062955c1","内机清洗","10匹以上","10匹以上","台","1.00","","","","","",""]
["92","TM202506250925006294d75","拆机清洗","10匹以上","10匹以上","台","1.00","","","","","",""]
["93","TM202506250925006308422","更换内风机电机","10匹以上","10匹以上","台","1.00","","","","","",""]
["94","TM20250625092500630872c","更换外风机电机","10匹以上","10匹以上","台","1.00","","","","","",""]
["95","TM20250625092500631472e","管路清洗","10匹以上","10匹以上","台","1.00","","","","","",""]
["96","TM20250625092500632dab2","更换风机电容","格力原厂","格力原厂","台","1.00","","","","","",""]
["97","TM20250625092500632f1aa","更换压缩机电容","格力原厂","格力原厂","台","1.00","","","","","",""]
["98","TM20250625092500633df5b","更换变压器","格力原厂","格力原厂","个","1.00","","","","","",""]
["99","TM20250625092500633c8e7","更换信号控制连接线","通用","通用","根","1.00","","","","","",""]
["100","TM20250625092500634c89c","更换内外机连接电源线","通用","通用","根","1.00","","","","","",""]
["101","TM202506250925006357727","万能遥控器","通用","通用","个","1.00","","","","","",""]
["102","TM202506250925006354987","原厂遥控器","格力原厂","格力原厂","个","1.00","","","","","",""]
["103","TM202506250925006375fd6","漏电保护器","格力原厂","格力原厂","个","1.00","","","","","",""]
["104","TM20250625092500637397b","漏点焊接修复","通用","通用","点","1.00","","","","","",""]
["105","TM202506250925006383d7d","吊车","吊车","吊车","台班","1.00","","","","","",""]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]