{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":33,"n_cols":13,"rows_kept":33,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250924144314924081a","包塑金属软管","黑色φ20","","m","100.00","","","","","","各矿"]
["2","TM202509241443149251e77","包塑金属软管","黑色φ25","","m","50.00","","","","","","各矿"]
["3","TM2025092414431492624e7","手动火灾报警按钮","J-SAP-M-M500KC DC24V","","只","5.00","","","","","","徐矿电厂-型号符合、接点完好"]
["4","TM20250924144314927a6f6","控制模块","JKM-FCM-1C","","个","5.00","","","","","","徐矿电厂-型号符合、接点完好"]
["5","TM20250924144314928589c","折叠手推平板车","75cm*50cm,加厚镀锌管，带围栏，围栏高度18cm，围栏可拆卸","","辆","1.00","","","","","","徐矿电厂-完好，无损坏"]
["6","TM20250924144314928f91d","自行车","26型","","辆","1.00","","","","","","徐矿电厂-包含但不限于凤凰、永久品牌"]
["7","TM20250924144314929f786","加厚帆布警戒带","宽5cm*长50米","","盘","3.00","","","","","","符合规格型号标准。"]
["8","TM2025092414431493074ff","硒鼓","得力M2500DW，黑色，适用机型P2000/M2000系列","","只","2.00","","","","","","徐矿电厂"]
["9","TM20250924144314930f1da","塑料布","宽2m 展开4m 厚10丝，双层","","m","50.00","","","","","","徐矿电厂"]
["10","TM20250924144314931b09f","PVC管","110mm 国标，壁厚3.2，白色","","m","30.00","","","","","","徐矿电厂-包含但不限于伟星，联塑，日丰"]
["11","TM20250924144314932dbbe","工业级UPVC管","20mm 外径20mm，s6.3标准","","m","12.00","","","","","","徐矿电厂-包含但不限于环琪、中国佑利、协羽之"]
["12","TM20250924144314932a491","工业级UPVC管","25mm 外径25mm，s6.3标准","","m","12.00","","","","","","徐矿电厂-包含但不限于环琪、佑利、协羽、长鸿"]
["13","TM2025092414431493356a5","工业级UPVC管","32mm 外径32mm，s6.3管件","","m","12.00","","","","","","徐矿电厂-包含但不限于环琪-雁荡、协羽、佑利、长鸿"]
["14","TM20250924144314934dca1","PVC直接","110mm 国标，壁厚3.2，白色","","只","8.00","","","","","","徐矿电厂-包含但不限于伟星，联塑，日丰"]
["15","TM20250924144314935bcda","PVC弯头","110mm 国标，壁厚3.2，白色","","只","10.00","","","","","","徐矿电厂-包含但不限于伟星，联塑，日丰"]
["16","TM20250924144314935ca6c","PVC管卡子","110mm","","只","30.00","","","","","","徐矿电厂-包含但不限于伟星，联塑，日丰"]
["17","TM202509241443149364222","不锈钢移动脚踢桶（污物桶）","架子内直径300，外直径340，高度330，桶身外直径340，高度310（15L）桶架分离设计，静音轮，有提手","","个","2.00","","","","","","徐矿电厂-完好，无损坏"]
["18","TM202509241443149379a5e","不锈钢大号八层推车（餐车）","长95厘米，宽30厘米，高1.56米，八层，层距14厘米带拉帘罩","","辆","1.00","","","","","","徐矿电厂-完好，无损坏"]
["19","TM202509241443149371d31","空调遥控器","万能","","个","2.00","","","","","","徐矿电厂-铁路专业"]
["20","TM20250924144314938a719","声光报警器","R2475RLA","","个","10.00","","","","","","徐矿电厂-型号符合、接点完好"]
["21","TM202509241443149383cb1","管道内窥镜","探测线缆长度：≥20米 带录像功能、带显示屏、可充电 23mm镜头，镜头应有保护套及导向轮，自带存储功能，且能导出录像，9寸屏幕，20米长度，独立操作箱。","","个","1.00","","","","","","徐矿电厂"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]