{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":51,"n_cols":13,"rows_kept":51,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202510171558346397ac7","PVC管","50mm","","m","12.00","","","","","","国标，壁厚3.2，白色，品牌包含但不限于：伟星，联塑，日丰"]
["2","TM202510171558346419cb7","PVC管","110mm","","m","30.00","","","","","","国标，壁厚3.2，白色，品牌包含但不限于：伟星，联塑 ，日丰"]
["3","TM20251017155834642ca88","UPVC管","20mm","","m","12.00","","","","","","DN20，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["4","TM20251017155834643b473","PVC直接","50mm","","只","4.00","","","","","","国标，壁厚3.2，白色，品牌包含但不限于：伟星，联塑，日丰"]
["5","TM20251017155834643e00d","UPVC异径直接","32*25mm","","只","10.00","","","","","","DN32变DN25，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["6","TM20251017155834644b56c","UPVC外丝直接","15mm PN16","","只","10.00","","","","","","DN15，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["7","TM202510171558346454595","UPVC外丝直接","20*2.5mm","","只","10.00","","","","","","DN20，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["8","TM202510171558346466716","UPVC外丝直接","25*2.5mm","","只","10.00","","","","","","DN25，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["9","TM202510171558346468e58","UPVC外丝直接","32*3.0mm","","只","10.00","","","","","","DN32，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["10","TM202510171558346471f4c","UPVC直接","15mm PN16","","只","10.00","","","","","","DN15，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["11","TM2025101715583464822bb","UPVC直接","20mm","","只","10.00","","","","","","DN20，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["12","TM20251017155834648f829","UPVC直接","32mm","","只","10.00","","","","","","DN32，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["13","TM202510171558346495b21","UPVC直接","50mm","","只","10.00","","","","","","DN50，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["14","TM202510171558346503d82","UPVC内丝接头","16mm","","只","10.00","","","","","","DN15，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["15","TM202510171558346510816","UPVC内丝接头","20mm","","只","10.00","","","","","","DN20，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["16","TM20251017155834651ade9","UPVC三通","20mm","0.6Mpa","只","10.00","","","","","","DN20，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["17","TM2025101715583465210a7","UPVC三通","25mm","","只","10.00","","","","","","DN25，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["18","TM20251017155834653e9b3","UPVC三通","32mm","","只","10.00","","","","","","DN32，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["19","TM20251017155834654fe66","UPVC异径三通","25*15mm PN1.6","","只","10.00","","","","","","DN25变DN15，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["20","TM202510171558346546c82","UPVC弯头","15mm","","只","10.00","","","","","","DN15，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["21","TM202510171558346553596","UPVC弯头","20mm","","只","10.00","","","","","","DN20，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["22","TM20251017155834655ec62","UPVC弯头","25mm","","只","10.00","","","","","","DN25，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["23","TM2025101715583465666ce","UPVC弯头","32mm","","只","10.00","","","","","","DN32，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["24","TM202510171558346571be9","UPVC弯头","50mm","","只","10.00","","","","","","DN50，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["25","TM2025101715583465769e8","UPVC法兰","32mm PN10","","只","4.00","","","","","","DN32，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["26","TM202510171558346581ea4","UPVC法兰","40mm PN10","","只","4.00","","","","","","DN40，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["27","TM20251017155834659e5c0","UPVC法兰","50mm PN10","","只","4.00","","","","","","DN50，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["28","TM2025101715583465976de","UPVC球阀","DN20 150PSI 5°C/Max55°C","","个","5.00","","","","","","DN20，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["29","TM202510171558346605833","UPVC球阀","15mm","","只","10.00","","","","","","DN15，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["30","TM20251017155834660f3f4","UPVC双活接球阀","PN16 DN25","","个","5.00","","","","","","DN25，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["31","TM2025101715583466185c9","UPVC双活接球阀","PN16 DN32","","个","5.00","","","","","","DN32，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["32","TM20251017155834662d6bd","PVC伸缩节","110mm","","只","4.00","","","","","","国标，壁厚3.2，白色，品牌包含但不限于：伟星，联塑 ，日丰"]
["33","TM2025101715583466281f4","UPVC异径直接","20*15mm","","只","10.00","","","","","","DN20变DN15，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["34","TM202510171558346638e5a","UPVC异径直接","25*20mm","","只","10.00","","","","","","DN25变DN20，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["35","TM20251017155834663fe98","UPVC直接","25mm","","只","10.00","","","","","","DN25，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["36","TM202510171558346649b5b","PVC弯头","50mm","","只","6.00","","","","","","国标，壁厚3.2，白色，品牌包含但不限于：伟星，联塑，日丰"]
["37","TM20251017155834665bc4e","UPVC直接","40mm","","只","10.00","","","","","","DN40，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["38","TM202510171558346657caa","UPVC弯头","40mm","","只","10.00","","","","","","DN40，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["39","TM202510171558346662aad","UPVC双活接球阀","PN16 DN40","","个","5.00","","","","","","DN40，工业级UPVC管件，品牌包含但不限于：环琪、中国佑利、协羽之一。"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]