{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":19,"n_cols":13,"rows_kept":19,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM2025090917005706125c9","单向阀","型号：C0806PP1000A001,电压：220V，功率：18W，流量：7.2l/h","","个","2.00","","","","","","回用水380加药计量泵检修"]
["2","TM20250909170057063412a","安全阀","A21W-16P  DN15 压力等级:0.7-1.0MPa 整定压力:0.8MPa","","台","2.00","","","","","","PSVDL0002、3安全阀更换"]
["3","TM202509091700570641120","安全阀","A21W-16P，DN20，整定压力0.3MPa  介质：PAM, 材质：304","","台","2.00","","","","","","污水PAM加药装置"]
["4","TM20250909170057065e272","安全阀","A21W-16P，DN20，整定压力0.6MPa  介质：污水甲醇 材质：304","","台","2.00","","","","","","污水甲醇加药装置"]
["5","TM202509091700570661f24","隔膜阀","G41J-DN25 PN1.6MPa RF L=145mm       CF8/橡胶     GB/T 12239-2008","","台","2.00","","","","","","液位计根部阀"]
["6","TM20250909170057067585c","闸阀","Z41Y-16C DN150 PN16  RF  WCB/STL，介质：污水；适用温度≤425℃。","","台","1.00","","","","","","出水泵房消防导淋根部阀"]
["7","TM20250909170057067478d","对夹式气动蝶阀","DQ671X-16C,DN200,PN16,档距62mm。阀体材质CF8， 阀板材质316L，对夹式气动蝶阀，带气缸，金属硬密封面，气缸齿轮齿条双作用，铝合金，防护等级IP67,带直径φ10快插接头，带回讯器(2个进线口 1/2\"NPT)，阀位指示，阀位信号进DCS参与锁斗顺控，带电磁阀4M310-10,0.15-0.8MPa  220VAC AIRTAC，接受DCS锁斗顺控信号实现阀门开关。","","台","1.00","","","","","","气化捞渣机渣池溢流阀KV1355/1356阀门检修/、无锡工装、浙江华光阀门"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]