{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":18,"n_cols":13,"rows_kept":18,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏华美建设投资集团有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250801211734713ff35","消防验收零星改造","","","项","1.00","","","","","","自行查勘现场确定，自主报价。"]
["2","TM202508012117347168c6e","客房电路改造","","","间","48.00","","","","","","入户处插卡电路改造、修复"]
["3","TM20250801211734717bec4","消毒间（1117）装修","","","套","1.00","","","","","","地面强化地板直铺（不打地坪），墙面2.8mi以下部位刮白刷漆，矿棉板吊顶+LED灯，包含304不锈钢3槽清洗池、消毒柜（卫生间内部不做装修、喷淋烟感不改造、不做窗台石）"]
["4","TM20250801211734717108a","门头","","","套","1.00","","","","","","金属波纹板、3000K暖黄色温发光灯带、超级发光字、超级字面板贴3M膜，包含审批费用"]
["5","TM202508012117347188d9f","接待吧台","","","m","4.60","","","","","","石材+木饰面+灯带"]
["6","TM202508012117347190a94","过道地毯","","","㎡","242.00","","","","","","10-12层电梯厅及过道酒店专用地毯，厚度14mm、全部地垫厚度5mm、人工、电梯定制块毯"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]