{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":16,"n_cols":13,"rows_kept":16,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","8270010052","双金属温度计","WSS-481 量程：-40～80℃，表盘直径：100mm， 插深：500mm 连接形式：M27×2 精度：1.5级， 结构形式：万向，插入管直径：φ8","","个","1.00","","","","","","以下产品符合规格型号参数，严格执行化工标准等国家、行业强制认证规定，直发长青能源化工有限公司，货到需包含卸车，物流快递需送货上门，交货期为订单下达后15天内送达；备注申请付款方式，不备注默认按集团月度排款.建议品牌：乐清伦特、上海上仪、安徽天康"]
["2","8270230150","耐磨铠装热电阻","WZP2N-230K；螺纹连接M27*2   插深150mm   L:300mm，耐磨头长度：50mm","","只","10.00","","","","","","建议品牌：乐清伦特、上海上仪、安徽天康、上海傲向自动化科技有限公司"]
["3","8270700415","耐磨铠装热电阻","H-WZPK-740-M-AFA-550/400-M20*1.5，分度号：PT100,单支，介质：工艺气，工作温度：250℃，工作压力;6.5Mpa，刻度范围：0-400℃，防护等级：IP65,防爆等级：ExdII CT4,外套管种类：锥形钻孔管，外套管材质：316L+WC ，插深400mm，直径φ25/φ32，过程连接：DN50,900LB RJ HG/T 20615-2009,法兰材质;316L","","支","1.00","","","","","","建议品牌：乐青伦特、安徽天康、重材"]
["4","8273021603","磁翻板液位计","温度：55℃额定压力；常压蒸汽疏水，介质密度：1000Kg/m3,,测量范围0～1600mm,精度±10mm,防护等级IP68,连接法兰HG/T20615-2009 1\" 150LB RF,侧安装, 本体材质304,型号：UHZ-10；量程:0-1600mm,电源:24VDC,输出两路4-20mA信号，带一组干触点输出；介质：盐酸，常温常压状态；防护等级：IP65；法兰连接，DN25，150LB，法兰可活动；浮筒，法兰，远传杆等材质均为耐腐蚀材料PVC或塑料。浮子材质316L","","个","1.00","","","","","","规格中表述偏差，无需一组干触点输出"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]