{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":30,"n_cols":13,"rows_kept":30,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202507211501526852a0a","SOR液位开关","CSINI4JS60(A1型单元)","","个","2.00","","","","","","安全费用0413，耐高温250℃(华美热电)"]
["2","TM202507211501526868a0f","电磁流量计","YZ-LDCK-F2507 DN80,压力0.3MPa，流量0-25T，村质2507，分体式结构，法兰连接，配等材质的反法兰及连接螺栓，配二次表室外箱","","套","2.00","","","","","","安全费用0413，最迟到厂到货日期8月15日(华美热电)"]
["3","TM2025072115015268739bb","电子式时间继电器","weidmuller/魏德米勒\nITM多功能延时型，0.1S-100A,240VAC/DC,50-60HZ,8A/250V","-电厂专用","只","5.00","","","","","","规格型号正确(徐矿电厂)"]
["4","TM20250721150152688b397","电流继电器","JL-6A/1 110VDC,IN=1A","","只","3.00","","","","","","规格型号正确(徐矿电厂)"]
["5","TM20250721150152689e266","固态继电器","LRSSR-DA，输入：3-32VDC，输出：10A 50HZ 380VAC","","只","6.00","","","","","","型号符合，包含底座(徐矿电厂)"]
["6","TM2025072115015268983bd","行程开关","YBLX-19(LX19)/111","","只","2.00","","","","","","小机低压主汽阀(徐矿电厂)"]
["7","TM2025072115015269032c7","行程开关","Z4V 336-11Z-1593-4","","只","10.00","","","","","","吹灰器(徐矿电厂)"]
["8","TM20250721150152691a2c9","接近开关","E2E- X18ME1 NPN(常开） 200mA DC6-36V","","只","5.00","","","","","","线长2米，24VDC，PNP(徐矿电厂)"]
["9","TM20250721150152692824c","熔芯","RT18 Ф10*38 6A/500V","","只","10.00","","","","","","型号符合(徐矿电厂)"]
["10","TM20250721150152692c10c","冷却风扇电机","GR90A，50HZ，三相380~420V,功率42W,转速2800r/min","","台","1.00","","","","","","规格型号正确(徐矿电厂)"]
["11","TM20250721150152693bedc","隔膜压力表","YN100BF 0-1.0MPa","","只","2.00","","","","","","不锈钢材质(徐矿电厂)"]
["12","TM202507211501526940e34","耐震压力表","YN150 0-25Mpa（带上下限三色标识）","","块","3.00","","","","","","弹簧管出口为半圆形，长径，配内孔径8*外18*厚6退火紫铜垫片(徐矿电厂)"]
["13","TM20250721150152695a5e1","乙炔减压器","YQE-20 0.25*4MPa","","块","5.00","","","","","","符合规格型号标准(徐矿电厂)"]
["14","TM202507211501526956620","交流电压表","85L1-V 0-450V","","块","2.00","","","","","","型号符合(徐矿电厂)"]
["15","TM20250721150152696e489","电磁流量计","HLLD/C-50012213ACF1","","台","1.00","","","","","","适配现场二次表，校准(徐矿电厂)"]
["16","TM202507211501526973d2d","雷达液位计","FX86.AXPDF2HXAMKX 配测量筒","","台","2.00","","","","","","现场安装调试(徐矿电厂)"]
["17","TM202507211501526974a76","氢气露点仪","Series 5","","台","1.00","","","","","","与原露点仪尺寸接口应当一致，可以现场测量。现场指导安装，调试。(徐矿电厂)"]
["18","TM202507211501526989ad9","定位器","(TZID-C)V18345-1010121001","","块","1.00","","","","","","配反馈杆，2b给水泵再循环(徐矿电厂)"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]