{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":23,"n_cols":13,"rows_kept":23,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202507281500110061e60","限位开关机械头","ZCK-E05C","","件","8.00","","","","","","华美热电"]
["2","TM202507281500110089d59","三相水泵控制箱","5.5-7.5KW（带保护器、电压表、电流表）IP65 304不锈钢材质外壳，手动自动控制，可外接浮球开关，内含12V电源","","套","2.00","","","","","","华美热电"]
["3","TM20250728150011009e8be","模拟量电缆","DJYVP 1*2*1.5","","m","1500.00","","","","","","华美热电"]
["4","TM202507281500110102866","电源电缆","YJV 2*2.5","","m","750.00","","","","","","华美热电"]
["5","TM20250728150011010257d","模拟量电缆","DJYVP 2*2*1.5","","m","750.00","","","","","","华美热电"]
["6","TM202507281500110110b06","交流接触器","LC1-E1201 36V","","只","5.00","","","","","","郭家河"]
["7","TM202507281500110122017","积算仪","科远SXL-GA 保护箱，含蓄电池及必要的附属设备，差压信号可接受4线制电流源信号/","","个","3.00","","","","","","华美热电"]
["8","TM202507281500110131ef6","平衡流量计","DN80焊接，管段式，取压一体式，4MPa，353℃，精度1%，配1个EJA差压变送器，精度0.075%，含第三方校验报告","","套","1.00","","","","","","华美热电"]
["9","TM20250728150011014cc03","平衡流量计","DN100焊接，管段式，取压一体式，4MPa，353℃，精度1%，配1个EJA差压变送器，精度0.075%，含第三方校验报告","","套","1.00","","","","","","华美热电"]
["10","TM2025072815001101515a7","平衡流量计","DN300焊接，管段式，取压一体式，0.5MPa，253℃，精度1%，配1个EJA差压变送器，精度0.075%，含第三方校验报告","","套","1.00","","","","","","华美热电"]
["11","TM202507281500110164433","多功能智能操作器Q型手操器","XMTS-8111Q","","只","2.00","","","","","","郭家河-包含限不限于 无锡理尔"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]