{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":29,"n_cols":13,"rows_kept":29,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","1947420149","高强石墨垫片","150*90*3.5mm","","片","22.00","","","","","","机务：#1机安全门拆装及现场检修使用"]
["2","1947420180","高强石墨垫片","180*125*3.5mm","","片","26.00","","","","","","机务：#1机安全门拆装及现场检修使用"]
["3","1947420186","高强石墨垫片","185*135*3mm","","片","28.00","","","","","","机务：#1机安全门拆装及现场检修使用"]
["4","1947902440","金属缠绕垫","430*490*5","","个","1.00","","","","","","机务：#1机低压缸冷却蒸汽管道使用/"]
["5","1947902445","金属缠绕垫","φ1592*1532*5，带内外钢圈、钢圈材质304","","个","2.00","","","","","","机务：#1机供热蝶阀上下法兰使用/"]
["6","1947420269","石墨垫片","270*220*3.5","","个","10.00","","","","","","机务：#1机安全门拆装及现场检修使用/"]
["7","1947420118","石墨垫片","120*75*3.5","","个","10.00","","","","","","机务：#1机安全门拆装及现场检修使用/"]
["8","1947420106","石墨垫片","100*150*3.5","","个","30.00","","","","","","机务：#1机安全门拆装及现场检修使用/"]
["9","1944900364","焊接大小头","φ159-φ133*4.5，PN6.4MPa、材质：20g","","个","2.00","","","","","","机务：#1一段抽汽管道全部更换（更换25米）/"]
["10","1944140378","焊接弯头","90°φ133*4.5，PN6.4MPa、材质：20g","","个","4.00","","","","","","机务：#1一段抽汽管道全部更换（更换25米）/"]
["11","1944140379","焊接弯头","45°φ133*4.5，PN6.4MPa、材质：20g","","个","1.00","","","","","","机务：#1一段抽汽管道全部更换（更换25米）/"]
["12","1947420066","高强石墨垫片","65*32*3mm","","片","10.00","","","","","",""]
["13","1947420066","高强石墨垫片","65*32*3mm","","片","10.00","","","","","",""]
["14","1942194025","不锈钢法兰","DN125 PN16 材质316","","个","2.00","","","","","","机务：尿素区废水池加装风机（合理化建议）/"]
["15","1942194030","不锈钢法兰","DN150 PN16 材质316","","个","4.00","","","","","","机务：尿素区废水池加装风机（合理化建议）/"]
["16","1942173388","不锈钢弯头","90° φ159*4.5 材质316","","个","1.00","","","","","","机务：尿素区废水池加装风机（合理化建议）/"]
["17","1947109155","平焊法兰盘","DN25 PN16 材质：304","","个","8.00","","","","","","热控：中水硬度取样管道改造及现场检修使用/"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]